## Slide 1: Final Review AGENDA:
AMOG Public Presentation
14:30-14:40 Welcome and introduction (ESA)
14:40-15:10 AMOG Final Presentation (DTU/NIO)
15:10-15:30 AMOG Technical Status Presentation (DTU/PLT)
15:30- 15:45 Q&A
15:45-16:00 Coffee
AMOG Contractual Meeting
16:00-17:00 Review and agreement of RID's.(Discussion)
      Address comments which have been raised on the documents if any and questions that will be asked live- some comments might result in updates
17:00-17:30 Conclude and Agree on way forward (Discussion)
      Review the schedule and anticipate on next steps until the contract closure
      Assess whether the FR is successful
      After that, discuss on possible follow-on
AOB

## Slide 2: AMOG Advanced MOnitoring of Geospace using Satellite Platform Magnetometers
Nils Olsen (DTU Space)

## Slide 3: Study Goal and Study Logic
Most satellites carry magnetometer for navigational purposes as part of their AOCS (Attitude and Orbit Control System) The data of these AOCS (= “platform”) magnetometers have scientific value but proper data calibration and processing is essential
The AMOG Project tackles this from two sides:
Sensor, platform, satellite design, programmatics: Review of available AOCS magnetometers Guideline for a magnetic cleanliness program AMOG Questionnaire
Data: analysis of existing AOCS magnetometer data Identification and selection of satellites providing AOCS magnetometer data Analysis of test data sets Operational processing for selected “good” satellites
In this presentation: “Data-driven approach”
“Why and How ?”

## Slide 4: Thanks!
The generous support by the
CryoSat Aeolus EarthCARE Biomass AWS SMOS Proba-2 GRACE-FO
teams for spending their time and providing data is greatly acknowledged! This study would not have been possible without your support.

## Slide 5: H C Ørsted 1820
Any electric current I produces a magnetic field B
”Action at a distance”: Magnetic field B detectable at large distances from current I
Remote sensing of Earth’s interior and Geospace
1834: ”Göttingen Magnetic Union” established by Gauss and Weber

## Slide 7: Why? Remote Sensing of Electric currents in Geospace by Magnetic Measurements
Magnetospheric Ring-current

## Slide 8: Application: Monitoring of Magnetospheric Ring-current activity Low-latitude variation of horizontal component variation
Independent observation of time-evolution of magnetospheric ring-current with magnetic data from 6 satellites …
… and comparison with Dst-index derived from ground magnetic data

## Slide 9: Application: Monitoring of Magnetospheric Ring-current activity Low-latitude variation of horizontal component variation
Horizontal component variation at low latitudes (±10° dipole latitude)
Removal of CHAOS-8.1 core and crustal field
Spherical Harmonic Analysis up to d/o N=3 in 1.5-hour bins
Stronger ring-current on evening-side

## Slide 10: Model prediction error s2 on 6 May 2024 18:00 – 19:30
Spatial resolution up the spherical harmonic degree N = 2
Swarm A + B
CryoSat-2

## Slide 11: Model prediction error s2 on 6 May 2024 18:00 – 19:30
Spatial resolution up the spherical harmonic degree N = 3
Swarm A + B
CryoSat-2

## Slide 12: Model prediction error s2 on 6 May 2024 18:00 – 21:00
Spatial resolution up the spherical harmonic degree N = 3
Swarm A + B
CryoSat-2

## Slide 13: Trade-off between good spatial and good temporal resolution
Good spatial resolution (large N) and good temporal resolution (small Dt) requires simultaneous magnetic data from many locations in space

## Slide 14: Model prediction error s2, Dt = 90 min
Swarm A + B
CryoSat-2
Spatial resolution up the spherical harmonic degree N = 3

## Slide 15: Model prediction error s2, Dt = 90 min
Spatial resolution up the spherical harmonic degree N = 3
12 ESA EOP satellites

## Slide 16: Model prediction error s2, Dt = 30 min
Spatial resolution up the spherical harmonic degree N = 3
12 ESA EOP satellites

## Slide 17: Model prediction error s2, Dt = 30 min
Spatial resolution up the spherical harmonic degree N = 3
12 ESA EOP satellites 23 NASA satellites

## Slide 18: Model prediction error s2, Dt = 15 min
Spatial resolution up the spherical harmonic degree N = 3
12 ESA EOP satellites 23 NASA satellites

## Slide 19: Model prediction error s2, Dt = 15 min
Spatial resolution up the spherical harmonic degree N = 3
Constellation with 25 satellites 5 orbit planes

## Slide 20: Why? Remote Sensing of Electric currents in Geospace by Magnetic Measurements
Magnetospheric Ring-current
AOCS magnetic data are used for
Field-Aligned Currents in polar regions (the classic example)
Space-time structure of magnetospheric currents
… for improved determination of the electrical conductivity of Earth’s mantle
Polar and Equatorial Electrojets (horizontal currents at ≈115 km height)
Rapid core-field changes also during short gaps (e.g. 2011 – 2013) without high-accurate satellite magnetic data

## Slide 21: Steps of AOCS Magnetometer Calibration
Transforming raw AOCS magnetometer sensor readings to magnetic field vector in NEC (North, East, Center) frame includes
  Calibration (of the sensor), including temperature dependencies, non-linear effects, …
  Characterisation (of s/c magnetic disturbances), e.g. from magnetorquer activity, battery and solar array currents
  Alignment (of the vector data), requires information on s/c attitude (quaternions)
Estimation of the AOCS magnetometer calibration/characterisation/alignment parameters is typically done on a data subset (e.g. 60 sec sampling, non-polar latitudes) …
… followed by an Application of the estimated parameters to the whole data set (full magnetometer sampling rate, all latitudes)

## Slide 22: How? - Calibration of AOCS Magnetometer Data
Can run automatically
Requires a “scientist-in-the-loop”

## Slide 23: Overview: The various satellite data sets used in this study
Name | NORAD ID | years | altitude
CryoSat-2 | 36508 | 2010 - | ≈ 720 km
SMOS | 36036 | 2009 - | ≈ 760 km
Aeolus | 43600 | 2018 - 2023 | ≈ 320 km
EarthCARE | 59908 | 2024 - | ≈ 395 km
Biomass | 63772 | 2025 - | ≈ 660 km
Proba-2 | 36037 | 2009 - | ≈ 720 km
AWS | 60543 | 2024 - | ≈ 600 km
GRACE-FO C | 43476 | 2018 - | ≈ 500 km
GRACE-FO D | 43477 | 2018 - | ≈ 500 km
Main challenges: AOCS magnetometer only active in safe mode: no continuous data
Coarse magnetometer sampling rate: 10 sec or lower (1 sec is appreciated)
Data resolution, e.g. 1 mT (1 nT is appreciated)
Large magnetic disturbances from s/c
Green: “operational” data processing and provision Yellow: on hold, e.g. because of large magnetic disturbances or insufficient input data

## Slide 24: CryoSat-2 - The Flagship AMOG mission
Launched in April 2010 – and still in operation
720 – 730 km altitude, 92° orbital inclination
3 AOCS vector Fluxgate magnetometers (FGMs), 4 sec sampling
3 Star imagers (STRs)
House-Keeping (HK) data available: magnetorquer currents, magnetometer temperature, …

## Slide 25: Calibration of a satellite vector magnetometer
Calibration is done by minimization of difference DF2 = (|BFGM|– |Bref|)2 where BFGM is measured magnetic field vector and Bref is reference magnetic field at same position and time
On dedicated magnetic satellites like Swarm: Reference magnetic field strength |Bref| is provided by second absolute scalar magnetometer
For other satellites: Bref is given by CHAOS model of Earth’s magnetic field (core, crust, large-scale magnetosphere + induced contributions)
Cryosat-2: Estimation of 12 basic calibration parameters in monthly bins (200 x 12 parameters) Model regularisation to minimize month-to-month variability
Calibration includes estimation of time-varying magnetic disturbances due to Magnetorquer action, Solar arrays and battery currents, magnetometer non-linearities
4 second sampling rate, 16 years: April 2010 – December 2025 (200 months) In total 2472 model parameters estimated by robust non-linear Least-Squares from 16.5 mio observations (= 3 x 5.5 mio vector triplets)

## Slide 26: CryoSat-2
The Flagship AMOG mission – pushing the border of AOCS magnetometer processing
Operational processing since January 2025: automatically processed in monthly batches, typically on 5th of each month Daily CDF files in “Swarm-like” format distributed through Swarm data server ftp://swarm-diss.eo.esa.int/Multimission/CryoSat-2
4-sec data version 0305 based on estimated parameters using data Aug 2010 - Dec 2025
New: Change in onboard operation and telemetry allows to obtain 1 sec data since Sept 2025 Operational processing of 1 sec data (version 0402, will replace the 4 sec 0305 data)

## Slide 27: CryoSat-2 – the various disturbance fields

## Slide 28: CryoSat-2 81-daily running mean of daily rms wrt CHAOS model

## Slide 29: Aeolus
August 2018 – July 2023
Magnetoresistive magnetometer (no fluxgate)
Huge magnetorquer disturbances (same magnitude as Earth’s magnetic field) accounting for non-linear relation between IMTQ and BMTQ
“Operational” processing of whole mission, daily CDF files May 2019 – June 2023 10 sec sampling, Time, position, B, attitude quaternions, MTQ, solar array and battery currents

## Slide 30: Aeolus
Despite the larger rms (30 nT) compared to CryoSat-2 (< 10 nT):
Clear geophysical signal, in particular at polar latitudes (FACs)

## Slide 31: PROBA-2
Launched on 2 Nov 2009, sun-synchronous (dawn/dusk), 720 km altitude
Magnetometers:
Credit Card Magnetometer (CCM), Lusospace, (similar instrument as on Aeolus), 10 sec sampling
“A set of magnetometers (ZMM) from ZARM, Germany” We found data from one magnetometer (MM), 30 s sampling (sometimes 3 sec ?)
DTU’s “Science Grade Vector Magnetometer” SGVM: unknown status (no response from instrument team)
Position, attitude, MTQ currents, 2 Battery and 3 Solar Array currents
Rather coarse attitude (sun-sensor, no star tracker ?)
Sun pointing, with “fixed” attitude for 30 minutes, followed by rather abrupt change
MTQ currents are zero apart from times of attitude changes
For our calibration we only use data when no MTQ action
CMM period: end March 2010 – Nov 2014, rms = 70-100 nT
MM period: March 2010 – Dec 2025, rms = 80 nT

## Slide 32: Summary and Conclusions
Huge potential for scientific use of AOCS magnetometer data
Augmenting, but not replacing dedicated (absolute) satellite missions like Swarm, because AOCS magnetometer calibration requires good reference model of Earth’s magnetic field which can only be derived from high-accurate absolute satellite data
Cryosat-2 has pushed the border of AOCS magnetometer data calibration and application, with rms difference to CHAOS reference model < 5 nT
Main challenges
Use of “low quality” AOCS magnetometers e.g. magnetoresistive instead of fluxgate
AOCS magnetometer should be “always on” often only active in safe mode: no continuous data
Magnetometer sampling rate of 1 sec is appreciated often 10 sec or lower
Magnetometer data resolution of 1 nT sometimes only available with 1 mT resolution
Large magnetic disturbances from s/c, magnetorquer can be dramatically reduced with “best practice” approaches like backwiring